## Appendix 1
Appendix 1: Cost of using the LC-MS/MS method. | [5 empty] | BSPS annual workload | 9502 | [10 empty] | Tips | Tip size | quantity | C-peptide consumables
Intermediate standard | Cost (£) | No in pack | Quantity required | Cost per batch (£) | [13 empty] | Samples/QC/Cal | 250 | 65 | Acquity HSS C18 2.1x50mm Column
Cerrilant C-peptide CRM | 299.66 | 500ul | 40 | 23.9728 | [13 empty] | extraction solution | 250 | 1 | 1.5 mL Eppendorf tubes (pack of 100)
60% Methanol:30% Water: 10% Acetic acid | 0.0635 | 20ml | 500 | 0.0015875 | [13 empty] | 150ul conditioning methanol | 250 | 1 | Pipette tips (1000 uL) 8 rackss 96 each
|  |  | Total | 23.9744 | [13 empty] | 200ul conditioning water | 1000 | 1 | Pipette tips (300 uL) 8 racks 96 each
Calibrators (1ml) (50ul per batch) |  |  |  |  | Cost per Batch (£) | [12 empty] | 200ul conditioning methanol | 250 | 1 | Pipette tips (250 uL) 960/10LR
Intermediate standard | 23.9744 | 500ul | 6.4 | 0.30687 | [13 empty] | aliqout into plate | 1000 | 65 | Plastic 25 mL Universal tubes
Fetal Bovine serum (500ml) | 656.88 | 500ml | 14 | 18.3926 | [13 empty] | acidify phos acid | 1000 | 12 | Formic acid 99% 2.5L
|  |  | Total | 18.6995 | 0.01122 | [12 empty] | SPE load | 1000 | 65 | Acetic acid
Controls | [17 empty] | wash 1 | 250 | 12 | Water LCMS grade 2.5 L
Intermediate standard | 18.6995 | 500ul | 6.4 | 0.23935 | [13 empty] | wash 2 | 250 | 12 | Methanol LCMS grade 2.5 L
Fetal Bovine serum (500ml) | 656.88 | 500ml | 3 | 3.9413 | [13 empty] | elute | 250 | 12 | NH4OH
|  |  | Total | 4.1806 | 0.0025084 | [12 empty] | dilute | 250 | 12 | Cerrilant C-peptide
Try C-peptide IS
20ml Extraction solution (100ul per sample) |  |  |  | Cost per reagent | Cost per sample (£) | [12 empty] | Phosphate Buffered Saline (PBS) tablets (Sigma Aldrich) product number P4417 |  |  | Waters collection plate
cpeptide Internal Standard | 240 | 1ml | 1000 | 0.24 | [13 empty] | Albumin from bovine serum (BSA) (Sigma Aldrich product number A8022-500G) |  |  | Waters SPE plate
Acetonitrile | 15 | 2.5L | 10 | 0.06 | [13 empty] | Ammonia solution 32% (VWR, product number 153312K) |  |  | Bovine serum
Methanol (350ul per sample) | 15 | 2.5L | 10 | 0.06 | [16 empty] | phosphoric acid
|  |  | Total | 0.36 | 0.00018 | [12 empty] | C-peptide consumables
SPE extraction | [16 empty] | 715 | CORTECS UPLC C18+ 1.6µ 2.1x50mm 186007114
Methanol (200ul per sample) | 15 | 2.5L | 20 | 0.12 | 0.0012 | [11 empty] | 10.6 | 1.5 mL Eppendorf protein low bind tubes (pack of 500) EP0030108116-100EA
Water (200ul per sample) | 10.2 | 2.5L | 20 | 0.0816 | 0.000816 | [12 empty] | Pipette tips (1000 uL) 8 rackss 96 each
|  |  | Total | 0.2016 | 0.002016 | [12 empty] | Pipette tips (300 uL) 8 racks 96 each
5% formic acid in wtaer (400ul per sample) | [17 empty] | Pipette tips (250 uL) 960/10LR
Water (95ml) | 10.2 | 2.5L | 95 | 0.3876 | [13 empty] | Plastic 25 mL Universal tubes
5% formic acid (5ml) | 26 | 500 ml | 5 | 0.052 | [13 empty] | Formic acid 99% 2.5L
|  |  | Total | 0.4396 | 0.0017584 |  | Priming system |  | mls | cost | [7 empty] | Acetic acid
5% MeoH in water (200ul per sample) | [6 empty] | 50%A+50%B at 600ul/min for 30 mins | [10 empty] | Water LCMS grade 2.5 L
Water (95ml) | 10.2 | 2.5L | 95 | 0.3876 |  |  | Therefore Phase A |  | 9 | 0.037188 | [7 empty] | Methanol LCMS grade 2.5 L
5% Methanol (5ml) | 15 | 2.5L | 5 | 0.03 |  |  |  | Phase B | 9 | 0.054468 | [7 empty] | NH4OH
|  |  | Total | 0.4176 | 0.0008352 | [11 empty] | 299.66 | Cerrilant C-peptide (0.5ml) C-243-0.5ML
4% phosphoric acid in water (300ul per sample) | [6 empty] | Gradient programme |  |  |  |  | A (mls) | B (mls) |  | A cost | B cost |  | Try C-peptide IS
Water (95ml) | 10.2 | 2.5L | 96 | 0.39168 |  |  | 85%A+15%B at 250ul/min for 4.3 min |  |  |  |  | 0.91375 | 0.16125 |  | 0.0037756 | 0.00097588 |  | Waters collection plate
85% phosphoric acid (4.706ml) | 227 | 500ml | 3.7 | 1.6798 |  |  | 75%A+25%B at 250ul/min for 0.7 min |  |  |  |  | 0.13125 | 0.000625 |  | 0.00054232 | 3.7825e-06 | 352 | Oasis PRiME HLB µElution Plate 1/pkg 186008052
|  |  | Total | 3.9875 | 0.011962 |  | 65%A+35%B at 250ul/min for 0.3 min |  |  |  |  | 0.04875 | 0.02625 |  | 0.00020143 | 0.00015886 | 656.88 | Fetal Bovine serum (500ml) F6765-500ML
5% NH4OH in MeoH (20ml) 50ul per sample | [6 empty] | 55%A+45%B at 250ul/min for 0.2 min |  |  |  |  | 0.0275 | 0.0225 |  | 0.00011363 | 0.00013617 | 177.07 | WHATMAN(TM) PROTEIN SAVER
Methanol (20ml) | 15 | 2.5L | 16 | 0.096 |  |  | 35%A65%B at 250ul/min for 0.2 min |  |  |  |  | 0.0175 | 0.0325 |  | 7.231e-05 | 0.00019669
32% NH4OH | 27.6 | 1L | 4.7 | 0.051888 |  |  | 15%A85%B at 250ul/min for 2.3 min |  |  |  |  | 0.08625 | 0.48875 |  | 0.00035638 | 0.0029579
|  |  | Total | 0.14789 | 0.00036972 |  | 85%A15%B at 250ul/min for 0.50 min |  |  |  |  | 0.10625 | 0.01875 |  | 0.00043902 | 0.00011347
60% Methanol:30% Water: 10% Acetic acid (20ml) 50ul per sample
Methaol | 15 | 2.5L | 12 | 0.072 | [8 empty] | Total cost | 0.1017
Water | 10.2 | 2.5L | 6 | 0.02448
Acetic acid | 63.5 | 1L | 2 | 0.0635
|  |  | Total | 0.15998 | 0.00039995
Other consumables
CORTECS UPLC C18+ 1.6µ 2.1x50mm 186007114 | 643.5 | 1 | 1500 | 0.429 | 21.45
Waters Oasis PRiME HLB uElution plate | 352 | 1 | 96 | 3.6667 | 183.3333
|  |  | Total | 4.0957 | 204.7833 |  | Other wash |  |  | Volume | cost
Mobile phase A (1L) | [6 empty] | Weak wash |  |  | 40 ul | 0.0002016
LCMS grade water (1L) | 10.2 | 2.5L | 1 | 4.08 |  |  | Seal Wash |  |  | 40 ul | 0.00017088
0.1% Formic acid (1ml) | 26 | 500 ml | 1 | 0.052 |  |  | Sample Manager purge |  |  | 40 ul | 0.00019392
|  |  | Total | 4.132 |  |  | Iron Source wash |  |  | 50 ul | 0.0002136
Mobile phase B (1L) | [9 empty] | Total | 0.00078
LCMS grade Acetonitrile (600mL) | 15 | 2.5 L | 1 | 6
0.1% Formic acid (1ml) | 26 | 500 ml | 1 | 0.052
|  |  | Total | 6.052
Weak wash (50:50 Acetonitrile:Water) (1L)
50% LCMS grade methanol (500ml) | 15 | 2.5L | 0.5 | 3
50% LCMS grade water (500ml) | 10.2 | 2.5L | 0.5 | 2.04 |  |  | Nitrogen MS1 | Workload
|  |  | Total | 5.04 |  |  | C-peptide | 9502
Seal Wash 10%Methanol (500Ml) | [6 empty] | Immuno | 6054
LCMS grade methanol (50ml) | 15 | 2500ml | 50 | 0.3
LCMS grade water (450ml) | 10.2 | 2500ml | 450 | 1.836 |  |  | Total | 15556
|  |  | Total | 2.136
Sample Manger Purge (10% Methanol) (1L)
LCMS grade methanol (400ml) | 15 | 2500ml | 400 | 2.4 |  |  |  |  | Assay | workload
LCMS grade water (600ml) | 10.2 | 2500ml | 600 | 2.448 |  |  |  |  | C-peptide | 9502
|  |  | Total | 4.848 |  |  |  |  | Immuno | 6054
[9 empty] | Sulph | 586
Other consumables | [8 empty] | 5HIAA | 700
Eppendorf tubes | 15.9 | 100 | 50 | 7.95 |  |  |  |  | METs | 2781
250ul pippette tips | 47.95 | 960 | 117 | 5.8439 |  |  |  |  | Steroids | 3199
1000ul pippette tips | 41.93 | 960 | 143 | 6.2458 |  |  |  |  | Total | 22822
Collection plate | 208 | 50 | 2 | 8.32
|  |  | Total | 28.3597
Argon gas | 539.86 |  | 12620 | 0.042778
Nitrogen gas | 363.65 |  | 5980 | 0.060811
Iron Source wash 2 (0.5L)
LCMS grade methanol (10%) | 15 | 2500 | 50 | 0.3
LCMS grade water (80%) | 10.2 | 2500 | 450 | 1.836
|  |  | Total | 2.136
Staff costs
Based on Band 6 (2-5 years)
based on Band 7 (2-5 years)
No of days worked = 365 less weekends (52x2) and bankholidays (8)
Staff costs (LCMS) |  |  | 2023-2024 workload | 22822
Band | Basic | Cost allowance | Total | Cost per test (fixed)
Band 6 (1.0) | 37350 | 1867.5 | 39217.5
Band 7 (1.0) | 50056 | 2502.8 | 52558.8
|  | Total Annual cost (£) | 91776.3 | 4.0214
Instrumentation cost | Duration | Total Annual cost (£) | Annual workload | Fixed cost per test
LCMS Service charges | 1 year | 37125 | 22822 | 1.6267
Nitrogen generator service | 1 year | 3570 | 22822 | 0.15643
|  |  | Total | 1.7831
Total cost of C-peptide (Average run 50 samples)
Cost
Calibrators and Controls |  | 0.013728
Extraction |  | 0.87609
Column+SPE plate |  | 204.7833
Mobile phases |  | 5.124
Other Consumables |  | 28.3597
Nitrogen gas |  | 3.0406
Argon |  | 2.1389
Instrumentation cost |  | 35.663
Band 6 running cost |  | 124.5
| Total | 404.4993
Cost per test C-peptide (£) |  | 8.09
Note on E5: TETTEH, Godwin (FRIMLEY HEALTH NHS FOUNDATION TRUST):
Note on E9: TETTEH, Godwin (FRIMLEY HEALTH NHS FOUNDATION TRUST):
Note on E13: TETTEH, Godwin (FRIMLEY HEALTH NHS FOUNDATION TRUST):
Note on E19: TETTEH, Godwin (FRIMLEY HEALTH NHS FOUNDATION TRUST):
Note on E23: TETTEH, Godwin (FRIMLEY HEALTH NHS FOUNDATION TRUST):
Note on F23: TETTEH, Godwin (FRIMLEY HEALTH NHS FOUNDATION TRUST):
Note on E27: TETTEH, Godwin (FRIMLEY HEALTH NHS FOUNDATION TRUST):
Note on E31: TETTEH, Godwin (FRIMLEY HEALTH NHS FOUNDATION TRUST):
Note on E35: TETTEH, Godwin (FRIMLEY HEALTH NHS FOUNDATION TRUST):
Note on E39: TETTEH, Godwin (FRIMLEY HEALTH NHS FOUNDATION TRUST):
Note on E44: TETTEH, Godwin (FRIMLEY HEALTH NHS FOUNDATION TRUST):
Note on E48: TETTEH, Godwin (FRIMLEY HEALTH NHS FOUNDATION TRUST):
Note on F48: TETTEH, Godwin (FRIMLEY HEALTH NHS FOUNDATION TRUST):

## Appendix 2
Appendix 2: Cost of using the Mercodia ELISA test kit |  |  |  |  | BSPS annual workload | 9502 |  | £550.8 | C-peptide ELISA kit (96 wells) Diagenics (A complete kit is sufficient for the standard curve, 6 sets of controls and 36 patients.
Item | Cost (£) | No in pack | No of runs/pack | Cost per batch (£) |  |  |  | 262.2 | BioRad Immunoassay Plus Controls, levels 1 & 2 BioRad
C-peptide test kit | 550.8 | 1 | 34 | [5 empty] | The C-peptide calibrators are reconstituted using 1000 μl deionised
Lyophilised BioRad Lyphochek controls x3 -5ml water
Cost of tips | [8 empty] | Each standard, control or patient sample is assayed in duplicate. If there are less than 36 patient
standards reconstitution/washing (1ml) | 46.93 | 768 | 6 | 0.36664
conjugate/substrate/stop solution (250ul) | 46.93 | 960 | 3 | 0.14666
sample/QC/Calibrators (250ul) | 46.93 | 960 | 50 | 2.4443
Total |  |  |  | 2.9576
Cost of IQC | Cost (£) inVAT | No in pack | total volume | Cost per batch (£) |  |  |  |  | All urine samples are run neat and as 1 in 10 dilution in the first instance so each urine sample
Biorad Immunoassay L1 | 262.2 | 3X5 | 15000 | 0.437
Biorad Immunoassay L2 | 262.2 | 3X5 | 15000 | 0.437 |  |  |  |  | Other consumables
Biorad Immunoassay L3 | 262.2 | 3X5 | 15000 | 0.874 |  |  |  | 21.6 | 200ul pippette tips (6 tips per batch) | 65 | 500
[9 empty] | 250ul (1 tip per batch) | 31 | 500
[9 empty] | 1000ul pippette tips (1 tip per batch) | 128.5 | 500
|  | Total |  | 1.748
[8 empty] | Tips | Number | Cost
Cost of kit per patient | [6 empty] | standards reconstitution/washing | 1ml | X6 | X6
Max number of patients per kit |  |  | 34 |  |  |  | conjugate/substrate/stop solution | 250ul | x3 | x3
Cost per patient |  |  | 16.2
[7 empty] | DS2 service |  | 5178.9
EQA scheme subscription |  | Cost | 2022-2023 workload | cost per test (fixed) |  |  | Annual combined workload
CAP EQA (C-peptide/Insulin/Gastrin) |  | 735 | 9193 | 0.079952 |  |  | Insulin/C-pep/Proinsulin
[7 empty] | C-peptide |  | 5040
[7 empty] | Insulin/C-pep/Proinsulin |  | 4058
DS2 Instrumentation cost | Duration | Total Annual cost (£) | Annual workload | Fixed cost per test |  |  | Proinsulin |  | 404
Service charges | 1 year | 5178.9 | 9502 | 0.54503 |  |  |  | Total | 9502
Staff costs |  |  | 2022-2023 workload | 78274
Band | Basic | Cost allowance | Total | Cost per test (fixed)
Band 2 (1.4) | 53719.2 | 2685.96 | 56405.16
Band 6 (3.0) | 112050 | 5602.5 | 117652.5
Band 7 (1.0) | 50056 | 2502.8 | 52558.8
Band 8A (1.0) | 57349 | 2867.45 | 60216.45
Band 8D (1.0) | 96376 | 4818.8 | 101194.8
|  | Total Annual cost (£) | 286832.91 | 3.6645
Total cost of C-peptide (Average run 34 samples) | Cost(£)
Cost of kits | 550.8
Cost of tips | 2.9576
Cost of IQC | 1.748
Cost of EQA | 0.079952
Instrumentation | 18.5311
Staff costs | 124.5921
Total | 698.7087
Cost per patient | 20.5503

## Appendix 3
Appendix 3: Cost of DBS sampling pathway
| Sample collection cost | Price (£) | pack size | Cost/patient | Sample collection cost | Price (£) | pack size | Cost/patient
| DBS card | 175 | 100 | 1.75 | Gel tube | 40 | 100 | 0.4
| Dessicant pouch | 23.3 | 100 | 0.233 | Syringe | 37.99 | 100 | 0.3799
| Ziplock bag | 42.75 | 100 | 0.4275 | Tourniquet | 50.25 | 100 | 0.5025
| Alcohol hand wipe | 41.65 | 100 | 0.4165 | Alcohol hand wipe | 41.65 | 100 | 0.4165
| lancelt | 11.25 | 100 | 0.1125 | hand gloves | 3.59 | 100 | 0.0359
| Small plaster bandage | 1.67 | 100 | 0.0167 | Small plaster bandage | 1.67 | 100 | 0.0167
[5 empty] | Staff time (30 minutes) | 15 | 30 | 7.5
|  | Total (£) |  | 2.9562
[6 empty] | Total (£) |  | 9.2515
Sample postage cost
| Sample mailing bag | 11.29 | 100 | 0.1129 | Sample separation and centrifugation | Price |  | Cost per day
| First class post | 1.95 | 100g | 1.95 | mini Centrifugation | 250 | 3650 | 0.068493
|  | Total (£) |  | 2.0629 | micro tube | 126.99 | 1000 | 0.12699
[5 empty] | freezer running cost |  |  | 0.27
| Sample elution cost | 50 samples
| PBS (500ml) | 72.2 | 50 tablets | 4.332 |  | Total (£) |  | 0.46548
| 20% BSA(2.5g in 12.5ml) | 125 | 50g | 6.25
[5 empty] | DBS sample elution cost | 0.0036656
| PBS/BSA solution (500ml) | volume (ml) |  | Cost | DBS LCMS analysis cost | 8.09
| PBS | 500 |  | 4.332 | Total: | 8.0937
| 20% BSA | 0.5 |  | 0.25
|  | Total (£) |  | 4.582 | DBS sampling pathway cost | Cost (£)
[5 empty] | Sample collection cost | 2.9562
| DBS Elution |  |  |  | Sample postage cost | 2.0629
| Cost per sample | Volume/quantity |  | Cost | Sample elution cost | 0.0036656
| PBS/BSA | 0.4 |  | 0.0036656 | LCMS cost per test | 8.09
| Eppendolf tube | 2 |  |  | Total DBS | 13.1128
|  | Total (£) |  | 0.0036656
[5 empty] | Serum sampling pathway cost | Cost(£)
[5 empty] | Sample collection cost | 9.2515
[5 empty] | Sample separation and storage | 0.46548
[5 empty] | LCMS cost per test | 8.09
[5 empty] | Total Serum | 17.807